## DevNetGen_mc<>LMP
DevNet 6 Bus: Per Bus Generation marginal cost <<>> LMP correlation
Extracted from: |  | DevNet Stress Report_5.html
Test cases | Generation Marginal Cost (US$)
case | WECC_NW | WECC_SW | SPP_MISO | PJM_NE | SERC_SE | ERCOT | commit | scenario | objective (Optimal Devnet Operational Cost (US$) | lmp_spread | max_loading_pu | near_bind_ct | top1_line | loading_pu Power Distribution Factor (PDF) | top2_line | loading_pu Power Distribution Factor (PDF) | top3_line | loading_pu Power Distribution Factor (PDF)
1 | 70 | 70 | 70 | 60 | 70 | 50 | c7 | single | 2210000 | 0 | 1 | 1 | L_WECC_SW_SPP_MISO | 1.00 | L_SERC_SE_ERCOT | 0.75 | L_SPP_MISO_PJM_NE | 0.65
2 | 70 | 70 | 70 | 60 | 50 | 70 | c6 | single | 2210000 | 0 | 1 | 1 | L_WECC_SW_SPP_MISO | 1.00 | L_WECC_NW_WECC_SW | 0.60 | L_SPP_MISO_ERCOT | 0.55
3 | 70 | 70 | 70 | 60 | 70 | 70 | c2 | single | 2370000 | 0 | 1 | 1 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_PJM_NE | 0.85 | L_SPP_MISO_ERCOT | 0.75
4 | 70 | 70 | 50 | 60 | 70 | 70 | c3 | single | 2210000 | 0 | 1 | 1 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_ERCOT | 0.45 | L_PJM_NE_SERC_SE | 0.35
5 | 50 | 70 | 70 | 60 | 70 | 70 | c5 | single | 2210000 | 0 | 0.6 | 0 | L_WECC_NW_WECC_SW | 0.60 | L_SERC_SE_ERCOT | 0.45 | L_WECC_SW_SPP_MISO | 0.40
6 | 70 | 50 | 70 | 60 | 70 | 70 | c4 | single | 2210000 | 0 | 1 | 1 | L_WECC_NW_WECC_SW | 1.00 | L_SERC_SE_ERCOT | 0.45 | L_WECC_SW_SPP_MISO | 0.40
7 | 70 | 50 | 50 | 60 | 70 | 70 | c9 | single | 2050000 | 0 | 1 | 1 | L_WECC_NW_WECC_SW | 1.00 | L_SERC_SE_ERCOT | 0.45 | L_WECC_SW_SPP_MISO | 0.40
8 | 50 | 50 | 50 | 60 | 50 | 50 | c1 | single | 1753000 | 10 | 1 | 2 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_PJM_NE | 1.00 | L_PJM_NE_SERC_SE | 0.93
9 | 50 | 50 | 50 | 60 | 50 | 70 | c10 | single | 1790000 | 10 | 1 | 1 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_PJM_NE | 0.85 | L_SPP_MISO_ERCOT | 0.75
10 | 50 | 50 | 50 | 60 | 70 | 70 | c8 | single | 1910000 | 20 | 1 | 1 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_PJM_NE | 0.85 | L_SPP_MISO_ERCOT | 0.75

## DevNet_load<>SystemCost
DevNet 6 Bus: Total System Load <<>> System Cost- Objective correlation
Extracted from: |  | DevNet Stress Report_5.html
Test cases | Total System Load = Buses_N * Bus_{Load}
DevNet base params:
Buses_N |  | = | 6
c_g (USD/MWh) |  | = | 50
line s_nom (MW) |  | = | 5000
commit | scenario | k_load_WECC_NW | k_load_WECC_SW | k_load_SPP_MISO | k_load_PJM_NE | k_load_SERC_SE | k_load_ERCOT | Total System Load (MW) | System Operating Cost ($) | objective_USD | lmp_spread | max_loading_pu | near_bind_ct
c11 | single | 1 | 1 | 1 | 1 | 1 | 1 | 30000 | 1500000 | 1500000 | 0 | 1 | 2
c12 | single | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 36000 | 1800000 | 1800000 | 0 | 0.8 | 0
c13 | single | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 42000 | 2100000 | 2100000 | 0 | 0.5 | 0
c14 | single | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 48000 | 2400000 | 2400000 | 0 | 0 | 0
c15 | single | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 54000 | 2700000 | nan | nan | nan | 0
c16 | single | 2 | 2 | 2 | 2 | 2 | 2 | 60000 | 3000000 | nan | nan | nan | 0

## DevNet_line<>near_bind_ct
DevNet 6 Bus: Total System Load <<>> System Cost- Objective correlation
Extracted from: |  | DevNet Stress Report_5.html
Test cases | Total System Load = Buses_N * Bus_{Load}
DevNet base params:
Buses_N |  | = | 6
Bus_{Load} |  | = | 5000
c_g (USD/MWh) |  | = | 50
line s_nom (MW) |  | = | 5000
commit | scenario | k_line_WECC_NW | k_line_WECC_SW | k_line_SPP_MISO | k_line_PJM_NE | k_line_SERC_SE | k_line_ERCOT | Each line effective (MW) | Total System Load (MW) | System Operating Cost ($) | objective_USD | lmp_spread | max_loading_pu | near_bind_ct | top1_line | loading_pu Power Distribution Factor (PDF) | top2_line | loading_pu Power Distribution Factor (PDF) | top3_line | loading_pu Power Distribution Factor (PDF)
c17 | single | 1 | 1 | 1 | 1 | 1 | 1 | 5000 | 30000 | 1500000 | 1500000 | 0 | 1 | 2 | L_WECC_NW_WECC_SW | 1.00 | L_SPP_MISO_ERCOT | 1.00 | L_PJM_NE_SERC_SE | 0.87
c18 | single | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 4000 | 30000 | 1500000 | 1500000 | 0 | 1 | 3 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_ERCOT | 1.00 | L_PJM_NE_SERC_SE | 1.00
c19 | single | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 3000 | 30000 | 1500000 | 1500000 | 0 | 1 | 4 | L_WECC_NW_WECC_SW | 1.00 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_ERCOT | 1.00
c20 | single | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 2000 | 30000 | 1500000 | 1500000 | 0 | 1 | 4 | L_WECC_NW_WECC_SW | 1.00 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_ERCOT | 1.00
c21 | single | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 1000 | 30000 | 1500000 | 1500000 | 0 | 1 | 6 | L_WECC_NW_WECC_SW | 1.00 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_ERCOT | 1.00
c22 | single | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 500 | 30000 | 1500000 | 1500000 | 0 | 1 | 6 | L_WECC_NW_WECC_SW | 1.00 | L_WECC_SW_SPP_MISO | 1.00 | L_SPP_MISO_ERCOT | 1.00